**Online Vibrating Tube Liquid Density Meter Specification Questionnaire**

|  |  |
| --- | --- |
| **Company** |  |
| **Contact** |  |
| **E-mail** |  |
| **Tel** |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Operating conditions | 1 | Name of Density Meter | Online Vibration Tube Density Meter | |
| 2 | Density Range |  | |
| 3 | Fluid Name |  | |
| 4 | Fluid State |  | |
| 5 | Norm Dia. |  | |
| 6 | Normal Temp./ Design Temp. |  | |
| 7 | Working Pressure |  | |
| 8 | Grade of Accuracy |  | |
| 9 | Meter Tube/Lining Mat. | SS316L | |
| 10 | Shell Material | SS304 | |
| 11 | Flange Standard |  | |
| 12 | Connection Size/Connection Rating |  |  |
| 13 | Flange Material/Sealing Surface |  |  |
| 14 | Enclosure Protection | IP66/IP67 | |
| 15 | Explosion Proof | Exib lICT1~T6 Gb | |
| Transmitter | 16 | Transmitter Model | BPM-B | |
| 17 | Function | OLED display, directly measure density & temperature, water content alarm. | |
| 18 | Mount Type |  |  |
| 19 | Enclosure Protection | IP66/IP67 | |
| 20 | Explosion Proof | Ex d [ib] 1IC T6 Gb | |
| 21 | Power Supply | 220VAC or 24 VDC | |
| 22 | Output Signal | 4~20mA; Pulse | |
| 23 | Comm. Mode | RS485 | |
| 23 | Elec. Conn. |  | |